APPROVAL TO CONSTRUCT
Industrial Camp Sewerage System

This written approval is issued pursuant to the Public Health Act and the Industrial Camps Regulation and authorizes the use and operation of a sewage disposal system as proposed in {{BLAapplicationId}}{{#IF_AssetPresent}} which includes: {{#IF_AssetPitPrivyPresent}}• {{AssetPitPrivyListSize}} Pit privy(s) {{/IF_AssetPitPrivyPresent}}{{#IF_AssetGreyPitPresent}} • {{AssetGreyWaterPitListSize}} Grey water pit(s) {{/IF_AssetGreyPitPresent}}{{#IF_AssetM2Present}} • {{AssetMobileType2ListSize}} Mobile package treatment(s) type 2 {{/IF_AssetM2Present}}{{#IF_AssetM3Present}} • {{AssetMobileType3ListSize}} Mobile package treatment(s) type 3{{/IF_AssetM3Present}}{{/IF_AssetPresent}}

| At approximately: | {{BLaccountPhysicalStreet}} {{BLaccountPhysicalCity}}, {{BLaccountPhysicalStateCode}} {{BLaccountPhysicalPostalCode}} |
| --- | --- |
| Servicing: | {{BLaccountName}} (Type = Industrial Camp) |
| {{#IF_AssetMobilePresent}}Discharging to: | {{AssetsMobileDischargeTypeList}}{{/IF_AssetMobilePresent}} |

{{#IF_AssetMobilePresent}}*With prescribed limitations for effluent quality that is dependent on method of treatment as described in the BLA.  For reference:

{{#IF_AssetM2Present}}Type 2 is treatment method that produces an effluent consistently containing less than 45 mg/L of total suspended solids and having a 5-day biochemical oxygen demand of less than 45 mg/L.{{/IF_AssetM2Present}}

{{#IF_AssetM3Present}}Type 3 is treatment that produces an effluent consistently containing less than 10 mg/L of total suspended solids and having
(i)  a 5-day biochemical oxygen demand of less than 10 mg/L, and
(ii)  a median fecal coliform density of less than 400 Colony Forming Units per 100 mL. {{/IF_AssetM3Present}}{{/IF_AssetMobilePresent}}

Operated by: {{BLorganizationName}}

The application was submitted by: {{BLAapplicantName}}

Conditions on Approval:

{{#IF_isConditionNotPresent}} None {{/IF_isConditionNotPresent}} {{#BusinessLicense}}{{#Conditions}} - {{Description}} {{/Conditions}}{{/BusinessLicense}}

| Issuing Authority: | {{IssuingDepartment}} |
| --- | --- |
| By Authority of: | {{ByAuthorityOf}} |